## T.O.C.
Pond Loss Calculation Spreadsheet
March 2015
Note: This macro-enabled workbook was created using Microsoft Excel 2007. The use of macros is optional. To enable macro functionality, access the macro security settings: (1) click the Microsoft Office button, (2) click Excel Options, (3) click Trust Center, (4) click Trust Center Settings, and then (5) click Macro Settings and select the option desired.
Idaho Department of Water Resources designed this spreadsheet in support of the guidance memo Seepage Loss Standards for Ponds and Reservoirs. It can be used to estimate the total volume required for a storage use. IDAPA Rule 37.03.08.035.03.b.v requires Department staff to account for all refills of a storage facility. This need has become especially acute with the increased popularity of ponds and reservoirs for aesthetic, recreation, and wildlife (ARW) purposes. Unlike irrigation reservoirs, ponds and reservoirs for ARW purposes are typically kept full all year. This spreadsheet was designed to account for the initial fill volume, refills to replace "from storage" uses, and the volume needed to replace evaporation losses and seepage losses to provide a more accurate accounting of the total water needed for a storage facility.
Tab #1 - Soil Classification with the NRCS Web Soil Survey:
Web Soil Survey (WSS) provides soil data and information produced by the National Cooperative Soil Survey. It is operated by the USDA Natural Resources Conservation Service (NRCS) and provides access to the largest natural resource information system in the world. NRCS has soil maps and data available online for more than 95 percent of the nation’s counties.
This sheet will give the user instruction on how to efficiently access the soil classification information for their pond location under examination.
Tab #2 - Seepage Loss:
The Seepage Loss sheet guides the reviewer through necessary calculations to determine seepage loss of a pond. The reviewer will need to choose the suggested soil value for the soil that most represents the soil at the location and depth of the pond. The reviewer also must have the surface area of the pond in square feet. The sheet has a calculator to convert the surface area from acres to square feet if you determine the surface area from Arc Map.
For additional background, review pond seepage loss information on page 16 of the "Seepage from Fish Ponds" Bulletin 599, August 1989, Alabama Agricultural Experiment Station, Auburn University, Alabama, Lowell T Frobish Director, written by Nathan M. Stone and Claude E. Boyd. This document can be found in the Field Examiner's Handbook on our WENET page under Water Right Permits Section - Field Examiner's Handbook - Peer Reviewed section - Library - Elements of water rights - Water use - Storage.
Tab #3 - Evaporation Loss:
This sheet calculates the evaporation losses based on the University of Idaho Evapotranspiration web page. For Department staff, there are links in the spreadsheet to this web page and you can find the most representative station in Arc map using the ETIdahostations shape in X:/Spatial/Climate/ETIdahostations.shp.
Please Note: For an alternate method to calculate acres required to be retired in a water right transfer from irrigation to storage to cover the evaporative losses, please see Transfer Processing Memo # 26.
Tab #4 - Total Storage:
This sheet automatically takes the seepage volume amount calculated in the Seepage Loss Sheet and the evaporation volume calculated in the Evaporation Loss sheet and combines with the pond capacity to determine total storage volume required for this pond.
Tab #5 - Pond Capacity:
This sheet contains mathematical equations which are helpful in determining the volume of a given pond. Four pond shapes are presented for user reference. If the pond found at the field exam does not conform to any of the example shapes presented, the examiner should utilize other mathmatical equations to determine pond capacity.
This sheet also calculates the minimum flow required to maintain the pond level, and the number of days to fill the pond. The number of days to fill the pond incorporates the seepage and evaporation losses.
All Data that you enter into this sheet will be in yellow boxes with blue text.
All calculated data will be in green boxes with red text.
All blue boxes will provide explanations, tips and other helpful information.
Tab #6 - Notes and Tips:
This tab supplies useful information and explanations on the spreadsheet. It is recommended that you read this tab prior to filling out the spreadsheet. This tab also contains a diagram showing the items that must be factored into a water balance for a storage water right.
Tab #1.1 - Soil Classification with ArcMap:
(Alternative to Soil Classification with the NRCS Web Soil Survey)
The Soil Classification (GIS) sheet is designed for users with access to ESRI ArcMap and corresponding Geographic Information System software. For reviewers that are already familiar with the functionality of GIS, this sheet explains how to interpret the SSURGO and STATSGO soils layers in order to determine the soil classification at the pond site.
Tab #1.2 - Soil Classification with Published Soil Surveys:
(Alternative to Soil Classification with the NRCS Web Soil Survey)
The Soil Classification (PDF) sheet includes instructions on how to utilize NRCS Published Soil Surveys to obtain subsurface soils data for excavated ponds. Most Idaho Published Soil Surveys are designated by the name of the county. Others are published under multiple county names or by a significant natural feature in the area (ie. Caribou National Forest, City of Rocks National Reserve, Middle Fork Payette River Area, Duck Valley Indian Reservation, etc.). The GIS Layer was taken from the Soil Survey Geographic Data Base compiled by the Natural Resources Conservation Service (NRCS). The reviewer may have to utilize supplemental maps to determine the applicable Soil Survey report for the pond location. This sheet methodically guides the reviewer through the process of how to determine the USCS Soil Classification for use on the sheet entitled "Seepage Loss."
Enter Data
Calc'd Data
Explanation

## 1. Soil Class (WSS)
Soil Classification with the NRCS Web Soil Survey
1. Use the { } tool to zoom in to the location of the pond.
2. Under the "Area of Interest" tab, create an Area of Interest (AOI), where you would like information about the soil. Use the following tools to create your area of interest: { } and { }
3. Click the "Soil Data Explorer" Tab.
4. Click the "Soil Reports" Tab.
5. Under "Soil Reports," choose "Soil Physical Properties." Select "Engineering Properties."
6. Click the "View Soil Report" button and wait for the WSS to load.
7. View the soil information chart below the map.
8. Look for the soil type with the greatest "Pct. of map unit" or for the soil which is most representative of the pond location. Choose the depth which most closely corresponds with the depth of the pond under examination. After this, move right across the table to find the Unified Soil Classification System (USCS).
If you find that this depth arrives at more than one classification, choose the classification which is most advantageous to the applicant (highest seepage rate). You may need to toggle between the "Soil Class" and "Seepage" sheets in order to view the table entitled "Suggested Seepage Rates for Different Soil Types."
9. Use this soil classification to find the Total Seepage Loss on the next sheet "Seepage Loss."
This spreadsheet has been designed by Idaho Department of Water Resources to determine the soil type and classification at the pond site.
Use the link to access the NRCS Web Soil Survey:
https://websoilsurvey.sc.egov.usda.gov/App/WebSoilSurvey.aspx
Alternative methods of obtaining soil classification information may be found in the last two tabs of this worksheet.

## 2. Seepage
Seepage Loss Calculations
[5 empty] | Classification | Seepage
FILE NUMBER | xx-xxxxx |  |  | User Input | GW | 0.2
REVIEWER | Joe Agent |  |  | Calculated value | GP | 0.2
DATE | 2000-01-01 |  |  | Formula Explanations | GM | 0.2
[5 empty] | GC | 0.2
INPUTS |  |  |  |  | SW | 0.2
Pond Surface Area (AC.) |  | 5 | AC. |  | SP | 0.2
[5 empty] | SM | 0.2
Pond Surface Area (SQ. FT.) |  | 217800 | SQ. FT. |  | OL | 0.02
[5 empty] | ML | 0.02
I used the following method to obtain my Soil Classification information: |  | NRCS Web Soil Survey |  |  | SC | 0.007
[5 empty] | CL | 0.003
My Soil Classification is |  | GP |  |  | MH | 0.0003
Suggested Seepage Rate (FT./DAY) |  | 0.2 | FT./DAY |  | OH | 0.0003
[5 empty] | PT | 0.0003
Formula: (Surface Area X Seepage Rate) X 7.48 = Gallons Per Day Loss |  |  |  |  | CH | 0.0003
[5 empty] | Lined | 0
Convert to GPD |  | 325828.8 | GPD |  | GrndWtr | 0
Total Seepage Loss (AFA) |  | 364.9763 | AFA
Class Method
Suggested Seepage Rates for Different Soil Types: |  |  |  |  | NRCS Web Soil Survey
GW, GP, GM, GC, SW, SP and SM (silty sand, sand silt mixtures and gravel mixtures) = 0.2 ft per day |  |  |  |  | PondSoils Layer in GIS
OL and ML (inorganic silts - very fine sands, silty, or clayey fine sands) = 0.02 ft per day |  |  |  |  | Published Soil Surveys
SC (clayey sands, sand clay mixtures) = 0.007 ft per day
CL (Low to medium plasticity clays) = 0.003 ft per day
MH, OH, PT and CH (high plasticity clays) = 0.0003 ft per day
LINED PONDS (liners can be chemical, fabric, or bentonite) = 0 ft per day
Ponds Intercepting Groundwater (excavated ponds filled by ground water) = 0 ft per day
PLEASE NOTE: The initial basis for the Suggested Seepage Rates in the table above is found on Page 16 of Seepage from Fish Ponds, Bulletin 599, August 1989 Alabama Agricultural experiment Station, Auburn University, Auburn University Alabama. If you don't know the soil type, please refer to the map provided at the NRCS Web Soil Survey (Tab #1) , an ArcMap Soil Classification Map (Tab #1.1), or published NRCS Soil Survey (Tab #1.2) . Use "0" if the pond fill relies on the water table.
This spreadsheet has been designed by Idaho Department of Water Resources to estimate the total annual seepage losses from a pond.
Though sand and gravel seepage rates may actually be higher, the maximum allowable rate is 0.2 ft/day, pursuant to Administrative Memo "Seepage Loss Standards for Ponds and Reservoirs."
Print Page to PDF

## 3. Evaporation
Evaporation Loss Calculations
FILE NUMBER | xx-xxxxx
REVIEWER | Joe Agent
DATE | 2000-01-01
User Input
Calculated value
Formula Explanations
The acronyms used on the Kimberly Research Center website are defined below:
P = Precipitation
ET= Evapotranspiration
Pd = Precipitation deficit
Pd =ET-P
Found at: | http://data.kimberly.uidaho.edu/ETIdaho/
Precipitation Deficit
| Station: | Twin Falls 2 NNE (NWS -- 109294)
| Month | mm/day¹ | Days per month | mm/Month
| Jan | -1.34 | 31 | 0
| Feb | -0.72 | 28 | 0
| March | -0.29 | 31 | 0
| April | 1.09 | 30 | 32.7
| May | 1.77 | 31 | 54.87
| June | 3.33 | 30 | 99.9
| July | 4.41 | 31 | 136.71
| August | 3.81 | 31 | 118.11
| September | 2.28 | 30 | 68.4
| October | 0.89 | 31 | 27.59
| November | -1.27 | 30 | 0
| December | -1.76 | 31 | 0
|  | Total mm/year = |  | 538.28
[(mm/yr) ÷ (convert to feet) ] X (Surface area of pond, in acres) = Evaporation Loss in Acre Feet
( | 538.28 | ÷ | 304.8 | ) X | 5 | = | 8.8301 | AFA
Surface Area of Pond is automatically carried over from the Seepage Loss Sheet.
Example Data:
This spreadsheet has been designed by Idaho Department of Water Resources to estimate the annual evaporation losses from a pond.
Data enter negative values above as "0"
PLEASE NOTE: The seasonal average for precipitation deficit should not be used for calculations because precipitation often exceeds evaporation during wetter months of the year. If the pond is kept full, excess precipitation during wetter months does not serve to refill the pond during drier months.
For example, see Sandpoint KSPT (NWS -- 108137), the annual precipitation deficit is -106 mm. However, April through September have positive precipitation deficit values. To properly estimate the annual volume of water necessary to refill a pond due to evaporation losses, the table will automatically enter a zero (0) for each month that the precipitation value is reported as a negative value.
The above table is a snap shot of the tables you find at the Kimberly Research Center Webpage. (Use link above.) Copy (ctrl + C) the numbers found in this table.
USING THIS SPREADSHEET
Use the link below to access the Kimberly Research Center website. This website provides the Precipitation Deficit for a station most representative of the pond under examination. The Precipitation Deficit is the total amount of free water surface evaporation minus the precipitation for a given area, which gives the total amount of evaporative losses incurred by the pond. There are several weather sites that are used throughout the state. IDWR staff can find the nearest site using Arc Map. The shape file containing the sites can be found at X:/Spatial/Climate/ETIdahostations.shp.
Instructions:
1. Use the link below to navigate to ET Idaho 2012.
2. Select the station which is most representative to your pond location.
3. Click Submit Query.
4. Under "Land Covers with Evapotranspiration Estimates," select "Open Water - Shallow Systems (ponds, streams)" or "Open Water - small stock ponds" depending on the pond size.
5. Click the link to "Precipitation Deficit."
6. Reference and copy (ctrl + C) the first subheading "Mean" values.
7. Click the "Paste Values from ET Idaho" button. The table will automatically enter a zero (0) for any negative precipitation deficit values.
As described above, precipitation offsets evaporation in winter months, so the net effect is that wintertime precipitation deficit is usually zero.
Paste Values from ET Idaho
Print Page to PDF

## 4. Storage
Total Storage Calculations
FILE NUMBER | xx-xxxxx |  | User Input
REVIEWER | Joe Agent |  | Calculated value
DATE | 2000-01-01 |  | Formula Explanations
Surface Area (AC.) | 5 | "Surface Area" is automatically carried over from the "Seepage Loss" sheet.
Average Pond Depth (FT.) | 6.8 | "Average Pond Depth" depicts the actual depth of the pond either measured or estimated. Note: If you know the maximum depth and not the average depth, the Field Examiner's Handbook suggests multiplying the maximum depth by 0.4 to get the average depth, or you can use any method that seems reasonable to attain average depth.
Pond Capacity (AF) | 34 | Pond Capacity is calculated by multiplying the Pond Surface Area by the Average Pond Depth. If you know the capacity, divide the capacity by surface area and enter the average pond depth in the space above. Note: If pond capacity is determined using a method shown on the "Pond Capacity" sheet, the user may need to modify the value of "Pond Capacity" (cell B9) manually. Note that if the value is modified manually, the formula will be altered for future use.
Multiple Fill Volume Above Initial Fill to Fulfill From Storage Needs- "Multiple Fills" (AF) | 5 | The "Multiple Fill Volume Above Initial Fill" is the acre-feet of water required to meet a from storage component if the from storage component exceeds a one time fill. This section should not include the amount of water needed to fill the pond initially or the amount of water needed to maintain the pond level due to evaporation or seepage. For example: if a pond has a capacity of 5 acre feet and 2.5 acre feet of seepage and evaporation, but the pond is used for irrigation that requires 10 acre feet of from storage for the irrigation use, then you would insert 5 acre feet into this location (10 acre feet needed - 5 acre feet from the initial fill = 5 acre feet of additional storage needed). Note: You must have a "From Storage" component exceeding the initial fill on the permit to include a volume in this space.
Estimated Seepage Loss (AF) | 364.9763 | The "Estimated Seepage Loss" is automatically carried over from the "Seepage Loss" sheet.
Estimated Evaporation Loss (AF) | 8.8301 | The "Estimated Evaporation Loss" is automatically carried over from the "Evaporation Loss" sheet.
Total Volume Required (AF) | 412.8063 | The "Total Volume Required" is calculated by adding the Pond Capacity, Multiple Fills, Seepage Loss, and Evaporation Loss amounts to determine the total amount of storage required.
Flow Rate into Pond (CFS) | 1 | The "Flow Rate into Pond" depicts the actual flow, either measured or estimated, into the pond. For offstream facilities, this will be equivalent to "diversion to storage" rate.
Highest Daily Evaporation Rate From Evaporation Tab. (mm/Day) | 4.41 | This number is carried over from the "Evaporation Loss" sheet. It is the highest recorded number in the "Precipitation Deficit Table".
Required Daily Maintenance Volume (AF/Day) | 1.0723 | "Required Daily Maintenance Volume" is the maximum volume of water needed on any given day during the year to maintain pond volume. It is calculated by adding the highest daily evaporation loss to the average daily seepage loss in acre feet. The average daily seepage loss is calculated by dividing the "Estimated Seepage Loss" by 365 days. This is acceptable, since the seepage rate shouldn't vary throughout the season unless the pond completely freezes over during the winter months. The highest daily evaporation loss is calculated by dividing the Highest Daily Evaporation Rate by the 304.8 conversion factor and multiplying this number by the pond surface area to attain a combined daily acre feet requirement.
Minimum Maintenance Flow (CFS) | 0.5406 | The "Minimum Maintenance Flow" is the minimum amount of flow required to maintain the level of the pond. This number is determined by dividing the "Maximum Required Daily Maintenance Volume" by 1.9835. This flow can be used to determine if the flow rate into the pond is adequate to maintain the pond level.
Days Required to Fill the Pond | 37.3125 | The "Days Required to Fill the Pond" is calculated by dividing the "Pond Capacity" by the "Flow Rate" minus "Minimum Maintenance Flow" multiplied by 1.9835. This section will assist you in determining if the flow rate being diverted to the pond is adequate to fill the pond while maintaining the pond level. The length of time to fill the pond will help determine if the flow rate is adequate for the size of pond being proposed. If this number is approximately 6 months (180 days) or more, the reviewer should have a discussion with the applicant to make sure he/she understands that it will take a significant length of time to fill the pond.
Days Required to Fill the Pond at 13,000 Gallons per Day | -32.9336 | Some water users may want to fill a pond under the 13,000 gallons per day domestic exemption. The "Days Required to Fill the Pond at 13,000 Gallons per Day" is calculated by converting the "Pond Capacity" and the "Required Daily Maintenance Volume" to gallons. The "Pond Capacity" is then divided by 13,000 gallons minus the "Required Daily Maintenance Volume" in gallons to determine the number of days to fill pond. If this number is approximately 6 months (180 days) or more, the reviewer should have a discussion with the applicant to make sure he/she understands that it will take a significant length of time to fill the pond. Negative values indicate that the supply of 13,000 gallons per day is not enough volume to overcome the required daily maintenance volume; the pond will never fill.
This spreadsheet has been designed by Idaho Department of Water Resources to estimate the total seepage, evaporation and fill capacity required for a pond.
Print Page to PDF

## 5. Capacity
Pond Capacity Determination
The surface area of a freeform polygons should be measured using aerial photography and ArcGIS.
Cylinder Shaped
Volume = π ∙ (radius)2 ∙ height
OR
Volume = circular surface area ∙ depth
Truncated Cone Shaped
Volume = (1/3) ∙ π ∙ (r12 + r1 ∙ r2+r22) ∙ h
where h = water depth
r1 = radius at top of basin
r2 = radius at bottom of basin
Freeform Polygon
with Sloped Sides and Bottom
Volume = surface area ∙ (2/5) ∙ maximum depth
Freeform Polygon
with Vertical Sides and Flat Bottom
Volume = surface area ∙ maximum depth
For ponds with an unusual shape and inconsistent depth, the reviewer may be able to combine different shapes to calculate a total pond volume.

## 6. Tips
Helpful Tips for Determining Pond Volumes
Types of Ponds and Reservoirs
The following is an excerpt from the report that is the basis for the University of Idaho Evapotranspiration Web Page. In this report, evaporation from three classes of open water was estimated:
small, shallow stock ponds: Kc* = 0.7 was used for all months
large, shallow water bodies or deep water bodies that have high turbidity: Kc* = 0.6 for all months. This class may be generally applicable to relatively shallow (< 4 m or 13.1 feet in depth) ponds, reservoirs and streams
deep systems (relatively clear lakes and reservoirs deeper than 4 m or 13.1 feet): use aerodynamic evaporation algorithms developed for American Falls Reservoir (Allen and Tasumi, 2005). Appendix 10# provides details on the procedure development and application. The evaporation estimations assume that no freezing occurs. If water systems are known to freeze, then the evaporation rate will tend toward zero during the periods of ice cover.
*The crop coefficient (Kc) is defined as the ratio of actual or potential evapotransporation by a specific crop or land cover condition to the reference evapotranspiration value.
#Allen, R., & Robison, C. (2006). Evapotranspiration and Consumptive Irrigation Water Requirements for Idaho. University of Idaho: University of Idaho Research and Extension Center at Kimberly, ID.
The Flow Through Component
Another component of a water right would be the “Flow Through Component.” This component is the amount of water diverted into the pond that is not used for seepage, evaporation or from storage uses, and flows out of the pond back into the source it was diverted from. This use is generally used to keep the pond fresh and free from moss and from going stagnant. This component has a diversion rate and volume. The diversion rate is the amount of water flowing out of the pond, and the volume is calculated by determining the volume of water diverted out of the pond. This is obtained by multiplying the diversion rate by the number of days or hours the water flows through the pond.
If there is a “Flow Though” component, then you will need to add this to the Total Volume Required to achieve the total volume that is required for a water right.
Components of Storage
To get water to a pond that is not on the stream, you will need a water right component called “Diversion to Storage.” “Diversion to Storage” components only have a rate of diversion. The volume components for this use are described in the “Storage Component.”
The “Storage Component” of a water right allows a one-time fill (also known as Pond Capacity) plus the “Evaporation Losses” plus the “Seepage Losses.” The “Storage Component” only describes a volume. Any diversion rate is considered under the “Diversion to Storage” component. “Evaporation Losses” and “Seepage Losses” are also described as the amount of water it takes to keep the pond full.
“Seepage Loss” is one of the most overlooked volumes in the “Storage Component.” It can also be the largest contributor to the “Storage Component.” When you initially fill a pond that sits above the water table, the pond will lose water. When the soil becomes saturated with water, the “Seepage Rate” drops to a steady state. The “Seepage Rates” used in this spreadsheet are determined using the saturated soil.
“Evaporation Loss” is simply the amount of water that evaporates from the surface area of the pond, minus the precipitation to the extent it offsets evaporation. We use the evaporation rates described in the University of Idaho Evapotranspiration Web Page. The evaporation web page accounts for variability in evaporation rates throughout the year. The reason that we use a “0” on all negative monthly values from the web page is to show that precipitation exceeded evaporation during that time period, and credit is not given for additional precipitation.
Components of a Storage Water Right
Water rights can also have a “From Storage” component. Generally, the “From Storage” component is limited to the capacity of the pond. However, there are times that the pond is filled and emptied, refilled and emptied several times if the permit allows. When a pond is filled and emptied several times, this is known as “Multiple Fills.” This spreadsheet has a space to account for the “Multiple Fills.” To figure out the additional volume for a “Multiple Fill” situation, you simply take the total amount of water needed to supply the “From Storage” component and subtract the “Pond Capacity” to determine the additional water needed to fulfill the “Multiple Fill” requirement. This methodology would leave the water user with a depleted pond at the end of his yearly usage. If the the owner wants to leave the pond full year round, the “From Storage” volume should be considered an addition to the “Pond Capacity.” If this is the case, this needs to be well documented in the file.
Calculating the “Total Volume Required” for storage is done by simply adding the “Pond Capacity” plus the “Seepage Losses” plus the “Evaporation Losses” and any “Multiple Fills.” It is important to ensure the total volume needed for the uses described in the water right are included. This avoids having to file a second water right application to cover the amount of water not covered by the original water right, which will take additional time and increase the cost of attaining a water right to cover all of the water users needs.
"Time to Fill a Pond" Functions
This spreadsheet has a couple of functions that allow the user to determine if the pond design has a chance of being successful. Please see below for a description of these functions.
“Minimum Maintenance Flow” allows the water user to see the minimum diversion rate that would be required to maintain the pond level in order to overcome seepage and evaporation losses. This is an important tool for agents reviewing the water right application to ensure that the proposal is reasonable. If the diversion rate that the applicant proposes can’t maintain the pond, then the applicant should be contacted to discuss the design and intent of the application. This may avoid the need to file and process additional applications.
“Days Required To Fill The Pond” is another tool used to see if a proposed application for permit is reasonable. If it takes too long to fill the pond, the water user will either need to increase the rate of diversion to the pond, reduce the size of the pond, or find an alternate supply to fill the pond.
Temperature
Though temperature calculations have not been included in this spreadsheet, the Department recognizes temperature as a valid water quality concern for some beneficial uses. For example, aesthetic fish ponds may need to be kept at a specific temperature to preserve aquatic life. At times, ponds may need to be kept full, at a low temperature to minimize evaporation when air temperatures are above average. For such uses, the applicant will need provide scientific justification for each request for additional diversion rate and volume related to temperature concerns.

## 1.1 Soil Class (GIS)
Soil Classification with ArcMap
Alternative to Soil Classification with the NRCS Web Soil Survey
This spreadsheet has been designed by Idaho Department of Water Resources to determine the soil type and classification at the pond site.
This sheet is designed for users with access to ESRI ArcMap and corresponding Geographic Information System software.
External users will need to download the PondSoils layer from the IDWR website.
For IDWR employees, the filename and path for the PondSoils layer can be found here: X:\Spatial\Soils\USCS\PondSoils.mdb
The PondSoils layer may also be accessed using the WRedit toolbar (Process > Base Layers > Soils).
The PondSoils layer is comprised of two soils layers:
1. The SSURGO (Soil Survey Geographic database) layer contains detailed spatial and attribute data. It covers about 2/3 of Idaho. If no SSURGO soil polygon is available for an area, the STATSGO soils are shown.
2. STATSGO is a more generalized soil layer. It covers about 1/3 of Idaho. The STATSGO (State Soils Geographic database) layer will provide a few short remarks about the soil classification.
An example from each of the layers is shown below:
1. SSURGO
● The percent (%) each soil component comprises of the soil type is shown. The percentages shown for the soil components may not add up to 100%. Generally the remainder percentage indicates non-soil areas within the soil type (ie. rock outcroppings or bedrock etc) In the example below, the Buko soil component is highlighted; 15% of the soil type polygon may be rock.
● Each soil type (polygon) can have up to 3 soil components (ie. Vanderhoff-Buko-Loray complex, 2 to 20 percent slopes). There is no polygon feature which displays exactly where each soil component is located.
● Each soil component (ie. Buko) can have up to 6 soil horizons. There is no map feature for a soil horizon.
● Each soil horizon will have a depth range and Unified Soil Code (ie SP). When looking at the soil horizons, they may not sort in order of depth.
2. STATSGO
● The STATSGO (State Soils Geographic database) layer will provide the Unified Soil Code, soil texture, remarks on pond ponstruction (if applicable), and an average seepage rate (feet per day) in non-gravelly soils.
● For gravelly soils, a pond liner may be necessary. Even in gravelly soils, 0.2 feet per day is the maximum seepage rate allowable.

## 1.2 Soil Class (PDF)
Soil Classification with Published Soil Surveys
Alternative to Soil Classification with the NRCS Web Soil Survey
FILE NUMBER | xx-xxxxx |  |  |  |  | User Input
REVIEWER | Joe Agent |  |  |  |  | Calculated value
DATE | 2000-01-01 |  |  |  |  | Formula Explanations
County: | Ada | , Idaho
1. Navigate to the NRCS Soil Survey Website
NRCS Published Soil Surveys for Idaho found at:
https://www.nrcs.usda.gov/wps/portal/nrcs/surveylist/soils/survey/state/?stateId=ID
Reviewer used the Survey entitled: |  |  | Ada County Area
2. Use GIS and the Soil Survey to determine Soil Type
Utilize ArcGIS to Obtain the Soil Symbol (may be a number or abbreviated name)
The shapefile SSURGOOnePlan is found at X:\Spatial\Soils\SSURGOOnePlan\soils.shp
Soil Symbol (GIS field MUSYM): |  |  | 116 |  | What if my Soil Symbol is 999?* (see box)
Find the name of the soil in the Soil Legend. The Soil Legend is typically the last bookmark in the Soil Survey report.
The Full Name of This Soil is: |  |  | Payette-Quincy complex, 15 to 30 percent slopes
3. Use the Soil Survey to determine the USCS Classification
Within the county NRCS Soil Survey report, click the bookmarked link to "Tables."
Scroll down until you reach a table called "Engineering Properties and Classifications" or "Engineering Index Properties." The table is ordered by soil symbol and the soil name.
Scroll down until you reach the soil which matches your soil symbol and name.
The table lists the USCS Classification for each depth in the soil profile.
Be sure to use the predominant soil classification for the pond depth where seepage occurs.
If the pond has a greater depth than the soil survey, use data from the lowest depth reported.
Pond Depth: | 4 | feet | = | 48 | inches
The Soil Survey states the soil USCS Classification at |  |  |  | 48 | inches is | SM
This spreadsheet has been designed by Idaho Department of Water Resources to determine the soil type and classification at the pond site.
How to Read Soil Maps in the NRCS Soil Survey s
The reviewer may need to utilize the soil maps found within the NRCS Soil Survey. The desired bookmark will be named "Index to Map Sheets" or "Detailed Soil Map." The index page displays the county divided up into individual map sheets. Click the sheet which represents the location of the pond under examination. The small font number found in the center of each polygon is the Soil Symbol.
For example, the soil symbols shown below include 71, 72, 111, 112, 129, 131, 157, 159 and 178. In the map below, the number 32 is not a soil symbol.
The Soil Symbol has been identified above, using the "Identify" tool in GIS.
*What if my Soil Symbol is 999 or null?
The SSURGOOnePlan shapefile displays soil types for much of Idaho, but it does not cover all land area. No soil data is available in GIS for areas which display a Soil Symbol Number of 999.
Many of these null regions are located at Idaho's core - harshly mountainous land. The NRCS has not published Soil Surveys for these locations. On this sheet, type in USCS Soil Classification as "unknown." On the next sheet, a seepage loss rate of 0.2 ft. per day should be used.
Print Page to PDF