## Sheet1
FILE NUMBER ------------------
REVIEWER ----------------------
DATE -------------------------------
MAXIMUM DAILY WATER USE FOR DOMESTIC PURPOSES
INPUTS |  |  | NOTES/SUGGESTED VALUES |  | RESULTS |  |  | FORMULAS
IN-HOUSE USE (AFY) --------------------------------------------- |  | 0.6 | IF UNKNOWN, USE IDWR STANDARD OF 0.6 AF |  | TOTAL IN-HOUSE USE ------------- | 535.6438 | GPD | CONVERSION: 1 AFY = 892.74 GPD
|  |  | FOR EACH HOUSE | [5 empty] | 1 AF = 325,850 G
LAWN AND GARDEN IRRIGATION
| ACRES IRRIGATED (AC) --------------------------------- | 0.5 | CANNOT EXCEED 1/2 ACRE FOR PART A DOMESTIC*
| ETpk80 (IN/DAY) ------------------------------------------- | 0.4 | IF UNKNOWN, USE REFERENCE ETpk80 FOR TURF
EXAMPLE 0.40 IN/DAY FOR HAGERMAN
EXAMPLE 0.30 IN/DAY FOR STANLEY
| APPLICATION EFF. (%) ---------------------------------- | 70% | IF UNKNOWN, USE 70% FOR SPRINKLERS
TOTAL LAWN AND
[5 empty] | GARDEN IRRIGATION -------------- | 7758.3333 | GPD | FORMULA: ( (ETpk80/EFF.) * IRRIG. AREA ) = GPD
CONVERSION: ETpk80 = IN/DAY * FT/12IN = ACRE-FT/DAY PER ACRE
POND | [8 empty] | 1 AF = 325,850 G
| SURFACE AREA (SQFT) --------------------------------- | 10890
| AVERAGE DEPTH (FT) ----------------------------------- | 3 |  |  | CAPACITY ---------------------------------------- | 32670 | CUFT | FORMULA: SURFACE AREA * AVERAGE DEPTH = CAPACITY
[6 empty] | 244371.6 | G | CONVERSION: 1 CUFT = 7.48 G
| FILL OR REFILL RATE (CFS) -------------- | 0.04 | USE 0 IF FILLED NATURALLY FROM GW |  | CONVERT TO GPD ------------------- | 25850.88 | GPD | NOTE: GPD LIMITED BY POND CAPACITY
|  |  | TOTAL DOMESTIC RATE CANNOT EXCEED 0.04 CFS |  |  |  |  | CONVERSION: 1 CFS = 646,272 GPD
|  |  | FOR PART B DOMESTIC* |  | REFERENCE EXAMPLE:
ESTIMATED NUMBER OF DAYS
TO FILL BASED ON PROVIDED
[5 empty] | INPUTS -------------------------------- | 9.4531 | DAYS | FORMULA: CAPACITY / FILL RATE = TIME TO FILL
[6 empty] | 226.875 | HR
| EVAPORATION (IN/DAY) -------------------------------- | 0.4 | IF UNKNOWN, USE REFERENCE ETpk80 FROM ABOVE |  | CONVERT TO GPD ------------------- | 2715.4167 | GPD | FORMULA: EVAP * SURFACE AREA = POND EVAP
CONVERSION: ETpk80 = IN/DAY * FT/12IN = ACRE-FT/DAY PER ACRE
1 AF = 325,850 G
NOTE: ASSUMES CONTINUOUS REPLACEMENT RATE
| SEEPAGE RATE (FT/DAY) ------------------------------ | 0 | SUGGESTED VALUES FOR DIFFERENT SOIL TYPES: |  | CONVERT TO GPD ------------------- | 0 | GPD | FORMULA: SA * SEEPAGE LOSS = POND SEEPAGE (CUFT/D)
|  |  |  | 0 = NATURALLY FILLED FROM GW, OR LINED |  |  |  | CONVERSION: 1 CUFT = 7.48 G
|  |  |  | 0.5 = CLAY SOILS |  |  |  | NOTE: ASSUMES CONTINUOUS REPLACEMENT RATE
1.5 = LOAMS
3.0 = GRAVELS
| FLOW-THROUGH (CFS) --------------------------------- | 0.04 | TOTAL DOMESTIC RATE CANNOT EXCEED 0.04 CFS |  | CONVERT TO GPD ------------------- | 0 | GPD | FORMULA: | IF FILL RATE = 0 THEN GPD IS BASED ON
| (REFRESH RATE) |  | FOR PART B DOMESTIC* | [5 empty] | CONTINUOUS FLOW
IF FILL TIME > ONE DAY THEN GPD = 0
IF FILL TIME < ONE DAY THEN GPD =
(24 HR - FILL TIME) * FLOW THROUGH RATE
[5 empty] | REFERENCE EXAMPLE: |  |  | CONVERSION: 1 CFS = 646,272 GPD
ESTIMATED NUMBER OF DAYS
TO REFRESH BASED ON
[5 empty] | PROVIDED INPUTS -------------------------- | 9.4531 | DAYS | FORMULA: CAPACITY / FLOW RATE = REFRESH TIME
[6 empty] | 226.875 | HR
[5 empty] | TOTAL POND ------------------------- | 28566.2967 | GPD | TOTAL = FILL RATE + EVAP + SEEPAGE + FLOW THROUGH
OTHER (GPD) ------------------------------------------------------ |  | 0 | STOCKWATER, SMALL BUSINESS USE, ETC. |  | TOTAL OTHER ------------------------- | 0 | GPD
EITHER FROM POND OR SEPARATE USE
[5 empty] | TOTAL WATER USE --------------------------------------------- | 36860.2738 | GPD | TOTAL = IN-HOUSE USE + IRR + POND + OTHER
* NOTE: MAXIMUM VOLUME FOR EXEMPTION = 13,000 GPD FOR PART A DOMESTIC
MAXIMUM VOLUME FOR EXEMPTION = 2,500 GPD FOR PART B DOMESTIC